## Sheet1
Activity | Priority | Quantity | Current Performance Standard | LOS Driver | Minimum LOS | LOS Goal | LOS Actual | Potential consequence of not meeting standard | Other Notes / Comments | 2013 Labor Hours | 2013 FTEs | Available hours if fully staffed
Stormwater Maintenance
Flood emergency response | high |  | yes | COA ordinance, MS4 permit, CRS, FEMA | 30 min response | 30 minute response | 30 minute response | Property damage & increased public safety risk |  | 2530 | 1.2163
SW channel maintenance | high | 77 miles | yes | COA ordinance, MS4 permit, CRS, FEMA | 62 miles per year | 77 miles per year | 77 miles per year | Increased damage and impacts associated with flooding, increase in maintenance costs, CRS rating decrease, failure to meet COA ordinance requirements, Army Corp violations | * Urban Drainage Flood Control District provides some debris/trash removal and project services * Aurora Parks provides weed control services | 9006 | 4.3298
SW pond maintenance | high | 83 ponds | yes | COA ordinance, MS4 permit, CRS, FEMA | all monthly | all monthly | all monthly | Increased damage and impacts associated with flooding, increase in maintenance costs, CRS rating decrease, failure to meet COA ordinance requirements, Army Corp violations | * monthly maintenance * sediment removal | 3485 | 1.6755
SW dam and levee maintenance | high | 4 dams & 1 levee | yes | COA ordinance, MS4 permit, CRS, FEMA | all monthly | all monthly | all monthly | Increased damage and impacts associated with flooding, increase in maintenance costs, CRS rating decrease, failure to meet COA ordinance requirements, Army Corp violations |  | 301 | 0.14471
SW troublespot maintenance | high | 222 | yes | COA ordinance, MS4 permit, CRS, FEMA | all monthly | all monthly | all monthly | Increased damage and impacts associated with flooding, increase in maintenance costs, CRS rating decrease, failure to meet COA ordinance requirements, Army Corp violations |  | 2187.675 | 1.0518
SW inlet inspections | high | 8004 inlets | yes | COA ordinance, MS4 permit, CRS, FEMA | 3200 per year | 4000 per year: combined goal that includes manholes & inlets | 4000 per year: combined goal that includes manholes & inlets | Increased damage and impacts associated with flooding, increase in maintenance costs, CRS rating decrease, failure to meet COA ordinance requirements, Army Corp violations |  | 1053.325 | 0.50641
SW manhole inspections | high | 6966 manholes | yes | COA ordinance, MS4 permit, CRS, FEMA | 3200 per year | 4000 per year: combined goal that includes manholes & inlets | 4000 per year: combined goal that includes manholes & inlets | Increased damage and impacts associated with flooding, increase in maintenance costs, CRS rating decrease, failure to meet COA ordinance requirements, Army Corp violations |  | 1053.325 | 0.50641
SW asset repairs | high |  |  | COA ordinance, MS4 permit, CRS, FEMA | timely response | completion within a reasonable timeframe after required research and planning is completed: range may be one day to one month depending on current priorities and available resources | completion within a reasonable timeframe after required research and planning is completed: range may be one day to one month depending on current priorities and available resources | Safety hazards & SW system does not function properly | * inlets, concrete, manholes, pipe, sinkholes * Inlet deck repairs coordinated with Public Works concrete repair purchase orders. | 1173 | 0.56394
SW Snow removal | high |  |  | city ordinance | within 48 hrs Mon-Fri | completion next day or day snow fall occurs Mon-Fri |  |  | SW properties: trails, sidewalks * 5 yr avg (2009-2013) = 1228 hrs | 1282 | 0.61635
Streets snow removal | high |  |  | city mandate | provide manpower when requested | provide manpower when requested | provide manpower when requested |  | Includes streets snow plowing, snow equipment prep and snow training * 5 yr avg (2009-2013) = 799 hours | 974 | 0.46827
Equipment maintenance | high | 33 pieces of equipment |  | proper equipment maintenance | when required | when required | when required | decreased useful life of equipment and equipment not available when needed | general non-fleet maintenance, equipment cleaning | 2396 | 1.1519
Staff training | high |  |  | MS4 permit, CRS, FEMA, safety | when required | when required | when required | Safety incidents and equipment damage |  | 596 | 0.28654
FEMA flood debris removal | high | 4 debris removal locations |  | mitigation from flood damage |  |  |  | No FEMA reimbursement & channel performance adversely impacted |  |  |  |  | 0.38462
Outfall sediment removal/cleaning | high | 75 Outfalls |  | Ensure SW assets function properly |  |  |  | Flooding and SW system does not operate properly | * locations identified during OC channel inspections |  |  |  | 0.57692
SW pipe CCTV | high | 370 miles |  | To identify otherwise undetectable problems | 25 Miles per year. Inspect entire system every 15 years. 0.6 miles per week = 135 Hours per mile |  |  | sinkholes and advers impacts associated with problems that are unidentified in the SW pipe system | * after the Sept flood events several failures have been identified * sinkhole on Princeton Dr * sinkhole at 10th & Elmira |  |  |  | 1.6226
SW overflow tract/easement maintenance | medium | 206 locations | yes | COA ordinance, MS4 permit, CRS, FEMA | twice per year | twice per year | twice per year | Increased damage and impacts associated with flooding, increase in maintenance costs, CRS rating decrease, failure to meet COA ordinance requirements, Army Corp violations |  | 782 | 0.37596
Facility maintenance | medium |  |  | regulations & proper facility maintenance | when required | when required | when required |  | SW/WW/OC building & Aurora Storage Facility at 6th Ave and Gun Club Rd | 1167 | 0.56106
Asset research/inspection | medium |  |  | COA ordinance, MS4 permit, CRS, FEMA | when needed | when needed | when needed | issues are not properly resolved | citizen requests, 695 private ponds, FasTracks, project planning, OC inspection reviews | 2934 | 1.4106
Inlet maintenance & cleaning | medium |  |  | COA ordinance, MS4 permit, CRS, FEMA | when inspections identify maintenance needs | when required | when required | SW system does not function properly | cleaning with Vactor & other maintenance | 1710 | 0.82212
Project support for other COA workgroups | medium | 42 projects in 2013 |  | COA ordinance, MS4 permit, CRS, FEMA | meets an internal customer service goal: when requested and SW staff time permits | when requested | when requested | CORE 4 non-compliance | * PROS, T&D, Streets * 2013 Project examples: Binney Plant forebay cleaning, reseeding for T&D, pond pumping at Expo Park for PROS pump station intake project, regrading and drainage for PROS projects, rotomill processing assistance for Streets, Rampart Reservoir seeding, Pipe repair at Wemlinger Plant, Prologis Lift Station pumping, & Court building drainage cleaning for Facilities | 2724 | 1.3096
Miscellaneous SW maintenance activities | low |  |  | COA ordinance, MS4 permit, CRS, FEMA | timely response | when required | completion within a reasonable timeframe after required research and planning is completed: range may be one day to one month depending on current priorities and available resources |  | * Contractor provides mosquito monitoring and control services * graffiti removal, fence maintenance, sign maintenance, fall protection, mosquito mgmt, wildlife mgmt | 2217 | 1.0659
[8 empty] | Overtime |  | 352 | 0.16923
[9 empty] | 2013 Stormwater Field Staff Productive Labor Hour Total * includes 2,878 seasonal hrs | 37923.325 | 18.2324
[8 empty] | Non Productive | annual, sick and personal leave used | 6479 | 3.1149
[9 empty] | 2013 Stormwater Field Staff Labor Hour Total | 44402.325 | 21.3473 | 48480